# Solid Waste Management Facility Guidelines for

# Construction and Demolition Debris Storage, Transfer, Process and Disposal

Contents

About this Guideline	2

Legislation	2

Definitions	2

Guideline	3

Siting and Separation Distance Requirements	3

General Facility Design, Construction, and Operation	4

Groundwater and Surface Water	6

C&D Storage, Transfer, and Processing	6

C&D Disposal Cell	7

Alternate Design, Construction, and Operation	9

Security and Insurance	9

Records	9

Annual Monitoring Report	11

Rehabilitation and Closure	11

Appendix A: Surface and Groundwater Monitoring Program	13

Hydrogeological and Surface Water Assessment	13

Hydrogeologic Assessment	13

Surface Water Assessment	14

Operation and Monitoring	14

Groundwater Monitoring	14

Surface Water and Leachate Monitoring	16

Schedule 1: Groundwater, Leachate and Surface Water Monitoring Parameters	17

Appendix B: Air Quality, Noise and Odour	22

Air Quality	22

Noise	22

Odours	22

Appendix C: Treated Wood Compliance Level	23

Compliance Level	23

Disposal Facility Requirements	23

ECC Audits	24

## About this Guideline

The purpose of this guideline is to outline the minimum requirements for siting, constructing, operating and rehabilitating a Solid Waste Management Facility for the storage, transfer, processing and disposal of construction and demolition (C&D) debris. Final assessment of applications for the construction and operation of a Facility will be on a case-by-case basis. Nova Scotia Environment and Climate Change (herein referred to as the Department) may impose terms and conditions in an Approval that exceed the minimum requirements outlined below to prevent adverse effects.

## Legislation

This guideline references the following provincial Acts, Regulations and Departmental Guidelines, as amended from time to time.

- Environment Act, S.N.S. 1994-95, c.1

- Solid Waste-Resource Management Regulations

- Activities Designation Regulations

- Sulphide Bearing Material Disposal Regulations

- Approval and Notification Procedures Regulations

- Contingency Planning Guidelines

- Guidelines for Environmental Noise Measurement and Assessment

## Definitions

For the purpose of this guideline, a term defined in the Activities Designation Regulations Division III Part 2 or Solid Waste Resource Management Regulations has the same meaning when used in this guideline.

“abandoned” means site operations have stopped for a minimum of 36 months or notification of abandonment has been received in accordance with the Approval and Notification Procedures Regulations.

"active area" means the area occupied by the disposal cell, including rehabilitated disposal cells, any structure, storage area, processing location, leachate treatment systems, settling ponds, wastewater management infrastructure, and/or overburden associated with construction and demolition debris activities. The active area excludes access roads.

“qualified engineer” means a person with engineering training and experience, licensed to practice in Nova Scotia by the Association of Professional Engineers of Nova Scotia (Engineers Nova Scotia).

“qualified hydrogeologist” means a person with hydrogeology training and experience, licensed to practice in Nova Scotia by the Association of Professional Geoscientists of Nova Scotia (Geoscientists Nova Scotia) or the Association of Professional Engineers of Nova Scotia (Engineers Nova Scotia).

“industrial waste” means garbage, refuse, sludge, rubbish, tailings, debris, litter and other discarded materials resulting from industrial or commercial activities requiring Approval under Division V of the Activities Designation Regulations.

## Guideline

### Siting and Separation Distance Requirements

- Applications for Approval to construct or expand a C&D Facility must be accompanied by a letter from the municipal unit stating that the proposed Facility meets zoning, planning restrictions and such other by-laws as may exist.

- Unless otherwise provided in this Section or an Approval issued by the Department, a C&D Facility must meet the minimum separation distances measured from the boundary of the active area to the feature listed in Table 1.

  - Separation distances apply only to features present on the date the Approval Application is received by the Department.

  - The minimum separation distances do not apply to the approved active area if the Approval was issued prior to the effective date of this Guideline, unless the Facility has been abandoned or fails to maintain an active Approval. Future expansion of the active area for existing facilities must meet the separation distances.

- An Administrator may impose additional terms and conditions in an Approval increasing a minimum separation distance in Table 1, in order to prevent adverse effects.

| #### Table 1: Minimum separation distances |  |  |
| --- | --- | --- |
| Feature |  | Horizontal Distance (m) |
| A) | Watercourse (top of bank) and Wetland (boundary) or marine water body | 30 |
| B) | Property line of Facility (PID(s)) | 30 |
| C) | Municipal drinking water supply | See section 5) below |
| D) | Any off-site structure | 90 |
| E) | Any area zoned for residential, commercial, park, or recreational use. | 360 |

- An Administrator may reduce the minimum separation distance required for item B and E in Table 1, if the Administrator is satisfied that the reduction would not cause an adverse effect and the applicant has provided both of the following:

  - a copy of an easement which has been recorded in the registry of deeds, from the affected property owner(s) granting and permitting the encroachment on the minimum separation distance; and

        - a satisfactory written explanation of why the alternate separation distance is necessary and evidence that reduced separation distances at the site will not create the potential for adverse effects.

      - The minimum separation distances for item C in table 1 are as follows:

        - for a municipal drinking water supply: outside the municipal drinking water supply’s Source Water Protection Area.

        - outside the boundary of any provincially designated Protected Water Area.

      - An Administrator may reduce the minimum separation distance required for item C in Table 1 if the Administrator is satisfied that the reduction would not cause adverse effects and the applicant for an Approval has provided the following:

        - a satisfactory written explanation of why the alternate separation distance is necessary; and

        - written confirmation from the municipal drinking water supply operator that they are satisfied that the reduced separation distance creates no potential adverse effects and would not contravene any regulations or by-laws applicable to the municipal drinking water supply, or municipal source water protection plans.

      - An Administrator may refuse to approve a reduction in the minimum separation distances in Table 1, if any of the following apply:

        - allowing the reduced separation distance would violate the intent of the Act, Regulations or this Guideline;

        - the reasons for the request to reduce the minimum separation distance result from willful or intentional disregard of the Act, Regulations, or this Guideline; or

        - the minimum separation distances set out in Table 1 can be met.

### General Facility Design, Construction, and Operation

      - The Facility design must be prepared and signed by a qualified engineer.

      - The Facility design must be approved by an Administrator prior to construction.

      - All phases of construction shall be overseen by a qualified engineer, or technologist who works under the supervision of a qualified engineer.

      - Written certification by a qualified engineer is required, within 6 weeks of project completion, stating that the construction and installation of the facility meets the requirements of the approved drawings and specifications.

      - The certification shall confirm that all as-built drawings and any other relevant documentation have been turned over to the Approval Holder(s) by the qualified engineer.

      - Facilities for storing, transferring, processing and disposal of C&D shall be designed and constructed in accordance with the following minimum requirements, unless otherwise provided in the Approval. All facilities must have:

        - Controlled entry and exit infrastructure;

        - Weigh scales;

        - Legible signage at the entrance of the Facility that includes:

          - days and hours of operation,

          - a list of acceptable/unacceptable waste, and

          - emergency contact numbers

        - Exposed areas are to be stabilized to prevent erosion and sedimentation.

      - Operational requirements

        - Direct supervision of the Facility is required during the hours it is open and accepting materials.

        - Litter is to be controlled.

        - Measures are to be in place to prevent illegal dumping and vandalism;

        - Air quality, noise, odours, and dust must be controlled and as a minimum follow the requirements stated in Appendix B

        - An effective vector control program that includes but is not limited to birds, insects, and rodents, is to be in place.

          - If the Department deems the vector control inadequate, additional control measures or changes to the operation may be required.

        - Daily inspections are to occur to maintain good housekeeping practice and appropriate action is to be taken to reduce vector and litter problems.

        - The use of pesticides must comply with federal, provincial, and municipal regulations.

      - Waste acceptance

        - Unless otherwise approved by an Administrator, Facilities can only accept and store, transfer, process and dispose of C&D debris and are prohibited from accepting municipal solid waste, industrial waste, hazardous waste, asbestos waste, or designated materials from Schedule “B” of the Solid Waste Resource Management Regulations.

        - All loads of C&D waste are to be inspected prior to unloading for the presence of municipal solid waste, industrial waste, hazardous waste, liquid waste, treated wood, or designated materials from schedule “B” of the Solid Waste Resource Management Regulations.

          - Procedures shall be in place to manage unacceptable materials that are received.

          - As of July 5, 2023, treated wood is banned from disposal at all C&D facilities in Nova Scotia.

          - At a minimum, Approval Holders will enact the treated wood ban in accordance with the procedures established in Appendix C.

          - Treated wood can be accepted for storage, transfer, and processing, but it is not permitted at the disposal area.

### Groundwater and Surface Water

      - Surface water draining and controls infrastructure for the active area is required, including but not limited to, sedimentation ponds.

      - A groundwater and surface water monitoring program, including monitoring wells and surface water sampling locations, in accordance with Appendix “A” is required. The plan must be prepared by, signed by, and carried out under the supervision of a qualified hydrogeologist.

- The Department reserves the right to modify groundwater and surface water monitoring locations, parameters and frequency and to require remedial measures based on the results of monitoring data and/or site inspections.

- Groundwater and surface water quality compliance criteria will be set by the Department for each site and these criteria must be met by the Approval Holders.

- The determination of compliance criteria both on and off sites by the Department includes an evaluation of the protection of groundwater quality for drinking water resources as well as protection of surface water quality for healthy aquatic life.

- Information in Appendix A indicates how elevated natural background, or baseline groundwater conditions for sites may be accounted for in submissions to the Department, with respect to monitoring and potential triggers for action.

- The Approval Holder(s) shall replace, at their expense, any water supply which has been lost or damaged as a result of the designated activity, as authorized and required by the Department.

### C&D Storage, Transfer, and Processing

      - Storing, transferring and processing activities shall be designed, constructed and operated in accordance with the following minimum requirements, unless otherwise provided in the Approval:

        - Individual stockpiles of material must meet the minimum clearances and not exceed the maximum base and height listed in Table 2.

          - The clearance requirement stated in Table 2 between stockpiles and a building on the property is permitted to be waived where an individual stockpile area has a base area not greater than 5m2.

      - C&D debris stored for the purpose of diverting for beneficial reuse that could deteriorate due to precipitation and produce leachate, shall be managed to prevent deterioration. Materials include but are not limited to drywall, cardboard, and architectural salvage.

| #### Table 2: Stockpile size limits and required separation distances |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Stockpiled Material |  | Max Base Area, m2 | Max Height of Storage, m | Clear Space Around each stockpile (m) | Clear space between stockpile(s) and building(s) |
| A) | Mixed C&D debris, dimensional lumber or brush piles | 1 000 | ≤ 3 >3 but ≤6 | 6 twice the height of storage to a max of 12 | 15 |
| B) | Wood Chips | 15 000 | 18 | 9 | 15 |
| C) | Pallets | 1000 | 3 | 15 | 15 |

### C&D Disposal Cell

      - Disposal cells shall be designed, constructed, and operated in accordance with the following minimum requirements, unless otherwise provided in the Approval:

        - The disposal cell shall have a minimum thickness of 1 m of soil liner (or alternate) across the entire cell with a maximum hydraulic conductivity of 1 x 10-6 cm/sec;

          - The soil may be amended, if required, with an admixture such as bentonite clay in order to achieve the required hydraulic permeability; however, the hydraulic conductivity must be uniform throughout the entire thickness of the soil.

          - An alternative to the soil may be considered. Any alternate shall be subject to the same qualifying requirements for application.

        - The base of the soil liner shall be a minimum of 1 m above the maximum seasonal high elevation of the water table. Prior to construction, water table elevations must be measured over a one-year period by hydrogeological testing methods submitted for review and acceptance by the Department;

        - The disposal cell shall have a leachate collection layer situated immediately above the soil liner and constructed:

          - To provide a means of collecting leachate without exceeding a leachate depth in this layer of 300 mm;

          - With the ability to convey leachate to a common point;

          - With a minimum hydraulic conductivity of 1x10-3 cm/sec;

          - Sloped such that it can adequately drain the leachate. The sloping should account for the possibility of settling occurring beneath the collection system network;

          - With adequate protection placed above the leachate collection system to prevent clogging of this layer.

        - Disposal cell vertical expansion must be structurally stable and capable of supporting anticipated loads.

      - Cover material shall be placed in accordance with the plan for cover placement approved by the Administrator and shall include:

        - A minimum of 15 cm of compacted soil once per month or another frequency as determined by an Administrator.

        - Cover otherwise to be used weekly or as required to control litter.

      - Treated wood is prohibited from use as cover material at the C&D Facility.

      - The final disposal cell cover system shall be constructed in accordance with the following requirements:

        - A grading pad consisting of a minimum of 300mm thick structural fill material capable of supporting the material above; and,

        - Designed to accommodate settling and consolidation of the waste material such that ponding of water does not occur on the surface;

        - A low hydraulic conductivity layer, to limit surface water infiltration, consisting of a minimum of 750 mm soil with a hydraulic conductivity of 1 x 10-6 cm/sec or less;

        - The soil must be protected during and after construction from damage due to frost, desiccation, over-hydration, differential movement and impact. It is to be constructed in layers such that it can achieve uniform compaction throughout its entire thickness;

        - The soil may be amended, if required, with an admixture such as bentonite clay in order to achieve the required hydraulic permeability; however, the hydraulic conductivity must be uniform throughout the entire thickness of the soil;

        - An alternative to the soil may be considered. Any alternate shall be subject to the same qualifying requirements for application; and

        - A vegetative layer consisting of a minimum of 300 mm of topsoil with vegetative surface to stabilize the final cover system from the forces of wind, water erosion and to provide low-maintenance surface.

### Alternate Design, Construction, and Operation

      - The Department may require additional design features including, but not limited to, liner systems, leachate treatment systems and other control infrastructure. Additional requirements may be based on the volume and type of material to be disposed of, as well as the proximity and type of receptors that could be impacted.

      - In the event an alternate design to the minimum requirements is proposed, it is the responsibility of the applicant to demonstrate to the satisfaction of the Department the alternative design is capable of achieving an equivalent or higher level of protection. Any proposal for an alternative design will be assessed on the technical merits of the design and will be evaluated on a case-by-case basis.

### Security and Insurance

- In accordance with the Activities Designation Regulations, privately owned, Solid Waste Management Facilities that dispose of C&D debris must:

  - provide financial security in the manner specified by the Approval and Notification Procedure Regulations, and

  - obtain insurance in the amount required by the Department subject to any terms that the Minister prescribes.

### Records

- The following records are to be maintained for a period of five (5) years and made available to the Department upon request:

  - The quantity, type, source (origin) and carrier of waste per load received;

  - The quantity of waste disposed;

  - The quantities and types of designated material(s) from schedule “B” of the Solid Waste Resource Management Regulations removed and sent for beneficial reuse or for disposal at an approved facility and the name of the receiving facility;

  - The quantities of treated wood removed and sent for beneficial reuse or for disposal at an approved facility and the name of the receiving facility;

  - The quantities and type of any other unauthorized wastes removed and sent for disposal at an approved facility and the name of the receiving facility;

  - Complete records of inspections, maintenance, repairs;

  - The date and quantity of monthly soil covered applied;

  - The date and quantity of other cover material applied.

  - The details of any release to the environment;

  - Information required in Appendix C: Treated Wood Compliance Level;

  - The complaints received and the steps taken to determine the cause of the complaint, the corrective measures taken to alleviate the cause and prevent its recurrence;

  - A copy of the Annual Monitoring Report, and;

  - Any other information requested by the Department.

- Operation and Maintenance Manual with the following information is required to be kept at the Facility at all times and made available to the Department upon request:

  - Drawings and specifications of the Facility;

  - A complete description of the operational procedures;

  - Monitoring well logs and surface water monitoring logs, including the location plans showing the monitoring points;

  - Contingency plans to deal with wastes that are not acceptable for disposal;

  - A procedure for maintaining the disposal records including the names of the generator and carrier for the materials; and

  - A copy of the Approval.

- A contingency plan, in accordance with the Department’s Contingency Planning Guideline, as amended from time to time, is required on how emergency issues including but not limited to fire, explosions and spills will be addressed. The contingency plan:

  - Must be reviewed and updated annually, or more frequently whenever equipment or procedures change;

  - Must be communicated to staff, including any changes;

  - Must be located at the site at all times and made available to the Department or fire and emergency personnel, if requested; and

  - Shall be sent to the local fire department.

- Employees are to be trained in accordance with the contingency plan and those training records are to be kept at the Facility for a period of 5 years and made available to the Department, if requested.

- All necessary materials and equipment must be available at all times to respond to emergencies in accordance with the Facility’s Contingency Plan.

### Annual Monitoring Report

- Each calendar year an Annual Monitoring Report for ground water and surface water is to be provided to the Department. The Report shall be prepared and signed by a qualified hydrogeologist and include, but not be limited to, the following information:

  - A summary of all groundwater and surface water monitoring data specified in Appendix A and compared with applicable criteria. The data is to be presented in table format;

  - A review of field methodologies, including sampling techniques;

  - A description of the groundwater and surface water monitoring network;

  - A review of the current groundwater and surface water monitoring program and recommendations or modifications, as applicable;

  - The current and historical static water elevation data in tabular format, groundwater gradients and flow direction;

  - The current and historical groundwater and surface water quality including an analysis of spatial and temporal trends with comparison to applicable water quality objectives and historical (baseline) data in tabular format, as applicable;

  - Laboratory certificates of analysis, as applicable;

  - The identification of any non-compliance with the groundwater, leachate and surface water compliance criteria set for the Facility; and,

  - Any current or proposed corrective actions to address non-compliance issues identified.

- The report shall be submitted in hard copy and digital format for each calendar year.

### Rehabilitation and Closure

- A final rehabilitation plan is to be submitted to the Department for Approval at least sixty (60) days prior to abandonment of the Facility.

- The rehabilitation plan shall include but not be limited to the description of the:

  - Construction and maintenance of a surface water management system;

  - Post-closure monitoring programs at the site, including, but not limited to, the inspection and maintenance of the final disposal cell cap, leachate management, surface water and groundwater monitoring; and

  - Decommissioning/removal of buildings and auxiliaries.

- The rehabilitation plan shall be implemented once deemed acceptable by the Department.

# Appendix A: Surface and Groundwater Monitoring Program

## Hydrogeological and Surface Water Assessment

### Hydrogeologic Assessment

Prior to the establishment or expansion of a Facility, a report shall be prepared by a qualified hydrogeologist and submitted to the Department, which includes plans, specifications, and descriptions of the hydrogeologic conditions of the Facility, adjacent and nearby properties, and the regional area in which the Facility is located, including at a minimum, the following;

      - A general description of the regional geologic and hydrogeologic conditions occurring within 5 km of the Facility. This description should identify any unstable soils or bedrock, indicate the location and nature of any boundaries to groundwater movement, and characterize the significance of groundwater resources and the use made of these resources;

      - A description of local hydrogeologic conditions occurring at the Facility, adjacent and other properties within 500 m of the Facility, and the description shall indicate how local conditions relate to regional conditions,

      - A baseline Water Well Survey of all existing water supply wells within 500 m of the Facility is required. All water well locations for the survey must be field located and visited. The survey is to include information on the water well construction details, sampling for water quality assessment and a water quantity assessment;

      - A detailed hydrogeologic and geotechnical investigation of the Facility which establishes soil, rock, and baseline groundwater conditions at the site must be implemented prior to submission of the Part V application. Baseline monitoring well water table elevation monitoring and water quality monitoring must be conducted quarterly for one year prior to submission of the Part V application. Investigations must include a determination by best hydrogeological practices and description of the following, at a minimum:

        - local geology, faulting and stratigraphic descriptions,

        - borehole fracture and RQD (rock quality designation) descriptions,

        - water table elevations,

        - piezometric groundwater levels,

        - hydraulic conductivities determined in each monitoring well using well hydraulic testing (e.g. slug tests),

        - vertical and horizontal hydraulic gradients,

        - groundwater flow directions,

        - baseline groundwater quality, and

        - if the 95th percentile parameter baseline value exceeds the quality criterion for a parameter, a statistical trend analysis of subsequent monitoring data is to be conducted to evaluate parameter concentrations for increases due to site activity;

      - An interpretation of the results of the detailed hydrogeologic investigation of the Facility, including plans, specifications, and descriptions; and,

      - An assessment of the suitability of the Facility for water disposal purposes considering the regional, local, and Facility specific hydrogeologic conditions, the design of the Facility, and the contingency plans for the control of leachate and landfill gas.

### Surface Water Assessment

Prior to the establishment or expansion of a Facility, a report shall be prepared by a qualified hydrogeologist, qualified engineer or surface water specialist and submitted to the Department, which includes plans, specifications, and descriptions of the surface water conditions of the Facility, adjacent and nearby properties, and the regional area in which the Facility is located, including at a minimum, the following:

      - A general description of the surface water features occurring within 5 km of the Facility that is based on the contributing/receiving drainage area, catchment, subwatershed or watershed that is sufficiently large to assess the range and extent of potential effects. This description will include, but not be limited to, flood plains, natural watercourses, wetlands, drainage paths and boundaries, streamflows, surface water quality, and sources of water supply;

      - A description of the local surface water features occurring at the Facility, and adjacent and other properties within 1000 m of the Facility, and the description shall include how local feature relate to regional features;

      - A detailed surface water investigation of the Facility to assess water quality, quantity, and habitat conditions of the surface water features identified on Facility; and,

      - A description and monitoring details for all surface water management at the site to include: site drainage/runoff, surface water collection and discharge locations and volumes, sampling of discharge water quality and the use of sedimentation and treatment ponds as well as other features, including but not limited to engineered wetlands.

## Operation and Monitoring

### Groundwater Monitoring

Prior to the establishment or expansion of a Facility a groundwater monitoring plan is to be prepared by a qualified hydrogeologist and submitted to the Department for review and acceptance. The groundwater monitoring network must be designed to adequately characterize and monitor groundwater quality, considering geological and hydrogeological conditions and all potential sources of contamination, as well as established points of compliance. Each Facility will have a unique groundwater monitoring program which includes, but is not limited to the following:

  - The location and design of ground water monitoring wells including:

    - A minimum of one groundwater monitoring well installed hydraulically up-gradient of the Facility;

    - A minimum of three monitoring wells installed hydraulically down-gradient and surrounding of the Facility;

    - An evaluation of monitoring well completion depths, including the potential need for multi-level installations, to be acceptable to the Department;

    - Groundwater monitoring well locations may include compliance points established at some distance outside the Facility active area, adjacent to surface watercourses and in intermediary or other areas of the site, as required by the Department;

    - The number and location of monitoring wells will be dependent on the size of the Facility active area and site conditions. These locations are to be provided to the Department for review and acceptance. In most cases, more than the minimum (4) groundwater wells will be required due to the size of sites and location of water resource features.

  - Sampling methodologies must use industry best practices and include, but not be limited to the following:

  - Correct purging of monitoring wells prior to sampling, and

    - field filtering for groundwater dissolved parameters.

  - Representative samples of groundwater within the Facility shall be:

- A minimum baseline collection of one year groundwater data with quarterly measurement is required (i.e. every 3 months) prior to commencement of site operations, or as otherwise approved by the Department. Parameters sampled are to include those in column 1 of Schedule 1 for quarterly samples and column 3 of Schedule 1 for one (1) annual sample.

- For a minimum of 2 years following commencement of site operations, sampling obtained quarterly from all groundwater monitoring wells and be analyzed for the parameters listed in column 1 of Schedule 1; and

- Obtained from selected wells, determined by the Department in consultation with the Approval Holder, on an annual basis for the enhanced monitoring parameters listed in column 3 of Schedule 1.

  - The frequency of sampling may be amended, after the minimum 2 year time period, for parameters listed in column 1 of Schedule 1 where the owner prepares a report providing rationale acceptable to the Department for allowing a frequency change from quarterly to semi-annual sampling.

  - The Department may at any time require that an enhanced frequency of sampling or additional sampling parameters be included in the monitoring program

### Surface Water and Leachate Monitoring

A program for monitoring surface water and leachate quality, quantity, and biological features shall be conducted including, at a minimum, the following:

  - Representative samples of surface water and leachate being discharged from the Facility and of any waterbody, including upstream control locations (which must be included during the same event as sampling of any other surface water locations), which may be affected by leachate, stormwater runoff, or sediment from the Facility, shall be:

- Obtained quarterly, and be analyzed for the parameters listed in column 2 of Schedule 1 and for other parameters of concern identified in the surface water assessment or as required by the Department;

- Obtained from selected locations, including leachate/effluent discharge, determined by the Department in consultation with the Approval Holder, on an annual basis for the enhanced monitoring parameters listed in column 3 of Schedule 1.

  - Annual monitoring of biological features to assess the composition and any changes to the benthic community present in any waterbody, located downstream of active areas of the Facility, that may be affected by leachate, stormwater runoff, or sediment from the Facility;

  - The Department may at any time require that an enhanced frequency of sampling or additional sampling parameters be included in the monitoring program.

## Schedule 1: Groundwater, Leachate and Surface Water Monitoring Parameters

| Parameter Group | Column 1 | Column 2 | Column 3 |
| --- | --- | --- | --- |
|  | Groundwater | Surface Water and Leachate | Enhanced monitoring parameters for select groundwater, Surface Water and Leachate |
| General Chemistry and Metals | Alkalinity | Alkalinity |  |
|  | Aluminum | Aluminum |  |
|  | Ammonia | Ammonia |  |
|  | Antimony | Antimony |  |
|  | Arsenic | Arsenic |  |
|  | Barium | Barium |  |
|  | Boron | Boron |  |
|  | Cadmium | Cadmium |  |
|  | Calcium | Calcium |  |
|  | Chloride | Chloride |  |
|  | Chromium | Chromium |  |
|  | Conductivity | Conductivity |  |
|  | Copper | Copper |  |
|  | Iron | Iron |  |
|  | Lead | Lead |  |
|  | Magnesium | Magnesium |  |
|  | Manganese | Manganese |  |
|  | Mercury | Mercury |  |
|  | Nickel | Nickel |  |
|  | Nitrate | Nitrate |  |
|  | Nitrite | Nitrite |  |
|  | Total Kjeldahl Nitrogen | Total Kjeldahl Nitrogen |  |
|  | pH | pH |  |
|  | Hardness | Hardness |  |
|  | Total Phosphorus | Total Phosphorus |  |
|  | Potassium | Potassium |  |
|  | Sodium | Sodium |  |
|  |  | Suspended Solids |  |
|  | Total Dissolved Solids | Total Dissolved Solids |  |
|  | Sulphate | Sulphate |  |
|  | Uranium | Uranium |  |
|  | Vanadium | Vanadium |  |
|  | Zinc | Zinc |  |
| Organics |  | Biochemical Oxygen Demand (BOD5) |  |
|  | Chemical Oxygen Demand | Chemical Oxygen Demand |  |
|  | Dissolved Organic Carbon | Total Organic Carbon |  |
|  | Phenol | Phenol |  |
| Field Parameters |  | Temperature |  |
|  | pH | pH |  |
|  | Conductivity | Conductivity |  |
|  |  | Dissolved Oxygen |  |
|  | Monitoring well water levels | Flow |  |
| Volatile Organic Compounds (VOC) |  |  | Acetone |
|  |  |  | Benzene |
|  |  |  | Bromodichloromethane |
|  |  |  | Bromoform |
|  |  |  | Bromomethane |
|  |  |  | Carbon tetrachloride |
|  |  |  | Chlorobenzene |
|  |  |  | Chloroform |
|  |  |  | Dibromochloromethane |
|  |  |  | 1,2-Dichlorobenzene |
|  |  |  | 1,3-Dichlorobenzene |
|  |  |  | 1,4-Dichlorobenzene |
|  |  |  | Dichlorodifluoromethane |
|  |  |  | 1,1-Dichloroethane |
|  |  |  | 1,2-Dichloroethane |
|  |  |  | 1,1-Dichloroethylene |
|  |  |  | cis-1,2-Dichloroethylene |
|  |  |  | trans-1,2-Dichloroethylene |
|  |  |  | 1,2-Dichloropropane |
|  |  |  | cis-1,3-Dichloropropylene |
|  |  |  | Ethylbenzene |
|  |  |  | Ethylene dibromide |
|  |  |  | n-Hexane |
|  |  |  | Methyl ethyl ketone |
|  |  |  | Methylene chloride |
|  |  |  | Methyl isobutyl ketone |
|  |  |  | Methyl-t-butyl ether |
|  |  |  | Styrene |
|  |  |  | 1,1,1,2-Tetrachloroethane |
|  |  |  | 1,1,2,2-Tetrachloroethane |
|  |  |  | Tetrachloroethylene |
|  |  |  | Toluene |
|  |  |  | 1,1,1-Trichloroethane |
|  |  |  | 1,1,2-Trichloroethane |
|  |  |  | Trichloroethylene |
|  |  |  | Vinyl chloride |
|  |  |  | m&p-Xylene |
|  |  |  | o-Xylene |
|  |  |  | Xylenes, TotalSEMI |
| TPH |  |  | TPH (gas, fuel/lube ranges) |
| PAH |  |  | Acenaphthene |
|  |  |  | Acenaphthylene |
|  |  |  | Anthracene |
|  |  |  | Benzo(a)anthracene |
|  |  |  | Benzo(a)pyrene |
|  |  |  | Benzo(b/j)fluoranthene |
|  |  |  | Benzo(g,h,i)perylene |
|  |  |  | Benzo(k)fluoranthene |
|  |  |  | Chrysene |
|  |  |  | Dibenz(a,h)anthracene |
|  |  |  | Fluoranthene |
|  |  |  | Fluorene |
|  |  |  | Indeno(1,2,3-cd)pyrene |
|  |  |  | 1-Methylnaphthalene |
|  |  |  | 2-Methylnaphthalene |
|  |  |  | Naphthalene |
|  |  |  | Phenanthrene |
|  |  |  | Pyrene |
| Chlorophenols |  |  | 2-Chlorophenol |
|  |  |  | 2,4-Dichlorophenol |
|  |  |  | 2,4-Dimethylphenol |
|  |  |  | 2,4-Dinitrophenol |
|  |  |  | Pentachlorophenol |
|  |  |  | Phenol |
|  |  |  | 2,4,5-Trichlorophenol |
|  |  |  | 2,4,6-Trichlorophenol |

# Appendix B: Air Quality, Noise and Odour

## Air Quality

  - Air emission from the Facility cannot contribute to an exceedance of the maximum permissible ground level concentrations of the contaminants specified in the Air Quality Regulations.

  - Monitoring of ambient air contaminants shall be conducted at the request of the Department.

- The number and location of the monitoring station(s) shall be established by a qualified person retained by the Approval Holder(s) and

- The proposed plan submitted to the Department for acceptance; this may include point(s) beyond the property boundary of the Site.

  - The use of oil as a dust suppressant is prohibited.

## Noise

  - Noise generated from the activity must comply with the equivalent sound level criteria identified in the Nova Scotia Environment and Labour "Guidelines for Environmental Noise Measurement and Assessment" dated May 18, 2005, as amended from time to time.

  - Noise shall be monitored at the request of the Department. The number and location of the monitoring station(s) for noise measurement shall be established by a qualified person retained by the Facility. The proposed plan must be deemed acceptable by the Department.

## Odours

  - Procedures shall be in place to ensure that odours from any material are minimized, and

  - If the Department determines that the designated activity is generating excessive odours, the Approval Holder(s) shall be required to take any measures required by the Department to address those odours, including but not limited to reducing or ceasing operation.

# Appendix C: Treated Wood Compliance Level

ECC assesses both the risk of an activity and an Approval Holder’s willingness to comply when determining our response to non-compliance with the Environment Act and its regulations.

As of July 5, 2023, treated wood is banned from disposal at all Construction and Demolition (C&D) facilities in Nova Scotia.

ECC will consider an Approval Holder’s willingness to comply with this ban, in part, through the establishment and implementation of a progressive compliance level, auditing and diversion program.

## Compliance Level

      - As of July 5, 2024, all C&D disposal facilities shall not permit any load to arrive at the disposal cell of their Facility if the amount of treated wood in the load exceeds 20% by weight, as amended from time to time.

      - All loads accepted for audit or sorting must be processed at a location other than the disposal cell or working face location.  NSECC will develop an auditing protocol before July 5, 2024.

      - This compliance level is subject to change by the Department at any time.  The Department will provide a minimum of one year notice prior to the effective date of any new compliance level for the treated wood ban.

## Disposal Facility Requirements

      - As of July 5, 2023, the following actions must be taken by the Approval Holders for all C&D disposal facilities:

        - All Approval Holders are to establish an educational program for the treated wood ban, that includes but is not limited to, the development of educational material for distribution to their clients, visible Facility signage, and online notification.

        - Educational material will describe the ban and the auditing and diversion program to be implemented at the C&D disposal Facility

        - Signage indicating the treated wood ban is to be posted at the C&D disposal Facility in a location easily visible to all clients approaching or entering the Facility.

        - Notice of the treated wood ban is to be placed on the Approval Holder’s webpage and/or other online platforms.

      - As of July 5, 2024, Approval Holders will include the identification of treated wood in their visual inspection program:

        - Loads that are visually estimated to approach or surpass the compliance level must be sorted and/or redirected to a municipal solid waste disposal Facility.

        - Physical auditing of the visual inspections for accuracy are to be completed twice a year for sites receiving below 5,000 tonnes of C&D waste per year and four times a year for sites equal to or larger than 5,000 tonnes per year by sorting and removing the treated wood from selected loads and determining the percent by weight of the treated wood in the selected loads.

        - Records must be kept of every load that fails visual inspection and how the load was managed (ex. audited, sorted, redirected).

        - Records of the visual inspections, sorting and auditing must be made available to the Department upon request.

      - As of July 5, 2025, the following actions must be taken by the Approval Holders for all C&D disposal facilities:

        - Approval Holders will continue to use their visual inspection program.

        - In addition, Approval Holders will be required to conduct physical audits of visual inspecitons at least four times a year for sites receiving below 5,000 tonnes of C&D waste per year and eight times a year for sites equal to and larger than 5,000 tonnes per year that conform to the following requirements:

          - Loads containing treated wood will be directed to a sorting area and will separate out and determine the percent by weight of

            - Treated wood;

            - Other unacceptable non-C&D waste; and

            - Acceptable C&D material for disposal

          - Records of the results of the physical audits will be kept and made available to the Department upon request.

## ECC Audits

      - On or after July 5, 2025, ECC inspection staff may require the Approval Holder to perform physical audits of selected loads at any time.  Compliance and enforcement action may be taken in response to non-compliance with the treated wood disposal ban or any other non-compliance discovered during an inspection.